Needle Depth & Speed Reference

Micro-needling with PRF — Provider Clinical Reference

Use as a starting-point reference alongside device manufacturer guidance and clinical judgment. Always adjust for individual skin thickness, sensitivity, and treatment history.

NEEDLE DEPTH & SPEED BY REGION

| Region | Needle Depth — Thin Skin | Needle Depth — Thick Skin | Speed — Thin Skin | Speed — Thick Skin |
| --- | --- | --- | --- | --- |
| Forehead | 0.25–0.5 mm | 0.5–0.75 mm | 1–2 | 2–3 |
| Between Eyebrows | 0.25–0.5 mm | 0.5–1.0 mm | 1–2 | 2–3 |
| Nose | 0.25 mm | 0.5 mm | 1–2 | 2–3 |
| Eye Area | 0.25 mm | 0.25 mm | 1–2 | 1–2 |
| Cheek Bone | 0.5 mm | 0.5–1.0 mm | 2–3 | 2–3 |
| Cheek & Chin | 0.5–1.0 mm | 1.0–2.0 mm | 2–3 | 2–3 |
| Lip Area | 0.25 mm | 0.5–1.0 mm | 1–2 | 2–3 |
| Lips | 0.25 mm | 0.25 mm | 1–2 | 1–2 |
| Facial Scars | 1.0–1.25 mm | 1.5–2.0 mm | 2–3 | 2–4 |
| Body Scars, Stretch Marks | 1.0–1.25 mm | 1.5–2.0 mm | 3–4 | 4–5 |
| Burn & Surgery Scars | 1.5–2.0 mm | 1.5–2.0 mm | 3–4 | 4–5 |

NEEDLE LENGTH INDICATION GUIDE

| Indication \ Needle Length | 0.25 mm | 0.5 mm | 0.75 mm | 1.0 mm | 1.5 mm | 2.0 mm | 2.5 mm |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Penetrate active product | ✓ |  |  |  |  |  |  |
| Hair loss | ✓ | ✓ | ✓ | ✓ | ✓ |  |  |
| Fine wrinkles |  | ✓ | ✓ | ✓ | ✓ |  |  |
| Deep wrinkles |  |  | ✓ | ✓ | ✓ |  |  |
| Loose skin |  |  |  | ✓ | ✓ |  |  |
| Acne scars |  | ✓ | ✓ | ✓ | ✓ |  |  |
| Stretch marks |  |  |  |  | ✓ | ✓ | ✓ |
| Cellulite |  |  |  |  | ✓ | ✓ | ✓ |
| Pigmentation |  | ✓ | ✓ | ✓ |  |  |  |
| Pimple |  | ✓ | ✓ | ✓ |  |  |  |
| Light scar |  | ✓ | ✓ | ✓ |  |  |  |
| Surgical / atrophic scars |  |  |  |  | ✓ | ✓ |  |
| Deep scars |  |  |  |  |  | ✓ | ✓ |
| Burn scars |  |  |  |  | ✓ | ✓ | ✓ |